## Slide 1: GJ Tube Detection Application for SickKids Hospital
Version 1.0.0
Dr. Bairbre, Simal Goman, Prem Patel, Wayne Lee, David DeVries

## Slide 2: Overview of Presentation
Workflow and UI Overview
Tube Segmentation Algorithm
Room for Further Development
Questions

## Slide 3: Workflow/UI Overview
Load Image(s)
Select ROI/adjust contrast
Select waypoints
Perform GJ Tube segmentation

## Slide 4: Loading Image(s)
Standard/familiar interface
Extracts DICOM header information
Can load multiple images (time/angle)

## Slide 5: Select ROI
Selects smaller area
Automatically suggests area based on edges

## Slide 6: Contrast
Uses built-in MATLAB contrast UI
TODO: Switch to UI that is more familiar

## Slide 7: Waypoint Selection
User defines start/end of tube, as well as any needed points

## Slide 8: GJ Tube Segmentation
Segments out centre line
Uses algorithm that will be described

## Slide 9: Segmentation Algorithm
Current algorithm is a stepper algorithm that starts at one point and then steps forward towards the end point
Depends on multiple constraints:
  Step size
  Search angle
  Search radius
  Angular Resolution

## Slide 10: Segmentation Algorithm
The heart of the algorithm uses three methods to decide which direction to go
  Line following
  Point following (user given)
  Curvature following
  These are followed with different “strengths”

## Slide 11: Room for Further Development
Goals for the UI:
  More familiar contrast interface
    Potentially (semi) auto contrasting
  Time-slider
  3D tube viewing (if angle is known)
  Scale-bars/measurement tools

## Slide 12: Room for Further Development
Goals for the Segmentation Algorithm
  Less user inputs/greater accuracy
    Maintain that user may help if it fails
  3D tube segmentation (if angle is know)
  Tube width measurements
  Faster (if possible)

## Slide 13: Questions
Is it possible to know the angle at which an x-ray was taken?
What would be the most useful information to display from the DICOM file?
What would be the most useful information to know about a segmented GJ Tube?
What contrasting interface would be the most intuitive/familiar for a doctor?